dText in bracketed blue italics is instruction that is intended to be replaced with text specific to the product.

These instructions should be deleted from the quality record produced from this form.

PSUR COVER PAGE

Manufacturer Information

Company Name: CooperSurgical, Inc.
Address: CooperSurgical, Inc.
                  95 Corporate Drive, Trumbull, CT 06611
                  United States of America

Manufacturer Single Registration Number (SRN): US-MF-000002607
Authorized Representative (if applicable): CooperSurgical Distribution B.V.

Celsiusweg 35

5928 PR Venlo

The Netherlands

Authorized Representative Single Registration Number (SRN): NL-AR-0000000059

Regulatory Information

Certificate Number:

Date of Issue: [Date Certificate Issued]

Notified Body Name: BSI Group The Netherlands B.V.
Notified Body Number: 2797

PSUR available, upon request, to competent authorities within 3 working days: ☒ Yes ☐ No

Document Information

Data Collection Period/Reporting Period: [Start] to [End]

PSUR Cadence: [How often is the Report Updated]

- Table of Contents

Section A: Executive Summary	3

Section B: Scope And Device Description	4

Section C: Volume Of Sales and Population Exposure	6

Section D:  Information on Serious Incidents	9

Section E:  Customer Feedback	10

Section F: Product Complaint Types, Complaint Counts, and Complaint Rates	10

Section G: Information From Trend Reporting	12

Section H: Information from Field Safety Corrective Actions (FSCA)	12

Section I: Corrective and Preventive Actions	13

Section J: Scientific Literature Review of Relevant Specialist or Technical Literature	13

Section K: Review of External Databases and Registries	13

Section L: Post Market Clinical Follow-Up (PMCF)	13

Section M: Findings and Conclusions	14

# Section A: Executive Summary

Previous PSUR Actions Status

Actions and status from Previous Report: [Description of any actions taken from previous surveillance period]
Status of Previous Actions:

☐ Completed

☐ In Progress

☐ Not Started
     Details: [Status description]

☐ Not Applicable

Notified Body Review Status

Previous PSUR Reviewed by Notified Body: ☐  Yes ☐  No ☐  N/A
Notified Body Actions Taken: [Description of any actions taken by notified body]
Status of NB Actions: [Current status]

Data Collection Period Changes

Data Collection Period Changed: ☐  Yes ☐ No
Justification for Change: [If yes, provide justification]
Impact on Comparability: [Assessment of impact on result comparability]

Benefit- Risk Assessment Conclusion

Based on the analysis of the collected data, it is concluded that the benefit-risk profile of the device(s):

☐  has NOT been adversely impacted and remains UNCHANGED

☐  has been adversely impacted

[Provide a high-level summary of the benefit-risk profile that has been impacted and any actions recommended/taken]

# Section B: Scope And Device Description

Device Information

Product Name: [As indicated in IFU and registration documents]
Implantable Device: ☐  Yes ☐ No

Device Classification

EU-MDR Classification:

☐ Class IIa

☐ Class IIb

☐ Class III

EU Technical Documentation Number: [Number]

Classification Rule: [MDR Annex VIII Rule X]

UK Classification (Remove if not applicable): [For GB market devices]

☐ Class IIa

☐ Class IIb

☐ Class III

UK Conformity Assessment Details (Remove if not applicable): [Details]

Classification Rule(Remove if not applicable): [UKCA Regulation X Rule Y]

US FDA Classification:

☐  Class I

☐  Class II

☐  Class III

US Pre-Market Submission Number: [510(k), PMA, etc.]

Device Timeline and Status

Certification Milestones:

EU

- First Declaration of Conformity: [Date]

- First EC/EU Certificate: [Date]

- First CE-Marking: [Date]

UK (Remove if not applicable):

- First date of certification or declaration of conformity for the GB market: [Date]

- First CE-Marking: [Date]

- First Market Placement: [Date]

- First Service Deployment: [Date]

PSUR Obligation Status Assessment

Market status: [State current commercial status: "On market" (actively sold), "No longer marketed" (sales ceased but devices in field), or "In service only" (implanted devices only).]

Last device sold date (if applicable): [Enter actual date last unit was sold/distributed, or "N/A - currently in active production" if still on market.]

Certificate status: [State "Valid" with expiry date, "Expired" with date, "Withdrawn" with date, or "Suspended" with reason.]

Projected end of PMS period: [Calculate: Last device sold date + device lifetime (shelf life + service life) = end date. Or "Cannot be determined - device actively marketed."]

Confirmation of ongoing PSUR obligation: ["PSUR obligation CONTINUES - [reason]" or "PSUR obligation ENDED - [reason and date]."]

Device Description and Information

Device Description: [Insert Device Description]

Intended Purpose/Use: [Insert Intended purpose/intended use]

Indications: [Insert indications for use]

Contraindications: [Insert contraindications]

Target populations: [Insert information related to the target population and, if available, population dynamics and characteristics]

Device Information Breakdown

For MDR Devices:

Basic UDI-DI(s):

| Basic UDI-DI | Device Trade Name | EMDN Code | Changes from Previous PSUR |
| --- | --- | --- | --- |
| [Basic UDI-DI] | [Trade name] | [EMDN] | [Description of changes] |

For Legacy Devices (Remove if not applicable):

Device Group/Family:

| Device Group | Trade Names | GMDN Code | Market Availability |
| --- | --- | --- | --- |
| [Group name] | [All trade names] | [GMDN] | [Member states] |

Data Collection Period/Reporting Period Information

Date Range: [Start Date] to [End Date]

PMS Period Determination (Remove if not applicable): [For UK devices - describe device lifetime determination]

Device Lifetime: (Remove if not applicable): [shelf life (if applicable) + period device is expected to perform as intended]

Projected end of PMS period: (Remove if not applicable): [Title]

Technical Information

Risk Management File Number: [Title]

Associated Documents

| Document Type | Document Number | Document Title |
| --- | --- | --- |
| PMS Plan | [Number] | [Title] |
| Clinical Evaluation Report | [Number] | [Title] |
| PMCF Plan | [Number] | [Title] |
| [Other documents] | [Number] | [Title] |

Model/Catalog Numbers

Complete listing of model/catalog numbers covered by this PSUR:[Verified listing of all model/catalog numbers identified in the PMS plan]

Device Grouping Information (if applicable)

Multiple Devices Included: ☐ Yes ☐ No

If Yes, provide:

- Justification for Grouping: [MDCG required justification for grouping devices]

- Leading Device: [Identify the highest risk class device that determines schedule]

- Leading Device Rationale: [Why this device was selected as leading device]

- Same Clinical Evaluation Report: ☐ Yes ☐ No

- Same Notified Body for All Devices: ☐ Yes ☐ No

- Grouping Changes from Previous PSUR: ☐ Yes ☐ No

# Section C: Volume Of Sales and Population Exposure

Sales Methodology

Criteria Used for Sales Data:

☐ Devices placed on the market or put into service

☐ Units distributed from the date of declaration of conformity or EC/EU mark approval to the end date of each time period

☐  Units distributed within each time period;

☐ Episodes of use (for reusable devices)

☐ Active installed base

☐ Units implanted

☐ Other: [Specify with rationale]

Market History: [Include information about market introduction history]

Table 1.  Annual Number of Devices[] Sold by Region [Use this table if the PSUR update frequency is ‘annually’.]

| Region | Preceding 12-Month Periods |  |  | Current Data Collection Period |  |
| --- | --- | --- | --- | --- | --- |
|  | Number of Devices Sold During Each 12-Month Period |  |  |  | 12-Month Percent of Global Sales |
|  | [Date Range (mmm-yyyy to mmm-yyyy)] | [Date Range (mmm-yyyy to mmm-yyyy)] | [Date Range (mmm-yyyy to mmm-yyyy)] | [Date Range (mmm-yyyy to mmm-yyyy)] |  |
| EEA+TR+XI |  |  |  |  |  |
| Australia |  |  |  |  |  |
| Brazil |  |  |  |  |  |
| Canada |  |  |  |  |  |
| China |  |  |  |  |  |
| Japan |  |  |  |  |  |
| UK |  |  |  |  |  |
| United States |  |  |  |  |  |
| [Any other countries which have more than 5% of global sales. Add rows as needed.] |  |  |  |  |  |
| Rest of World |  |  |  |  |  |
| Worldwide |  |  |  |  |  |

.  Annual Number of Devices[] Sold by Region [Use this table if the PSUR update frequency is ‘every two years’.]

| Region | Preceding Periods |  | Current Data Collection Period |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Number of Devices Sold During Each 12-Month Period |  |  |  | 24-Month Total | 24-Month Percent of Global Sales |
|  | [Date Range (mmm-yyyy to mmm-yyyy)] | [Date Range (mmm-yyyy to mmm-yyyy)] | [Date Range (mmm-yyyy to mmm-yyyy)] | [Date Range (mmm-yyyy to mmm-yyyy)] |  |  |
| EEA+TR+XI |  |  |  |  |  |  |
| Australia |  |  |  |  |  |  |
| Brazil |  |  |  |  |  |  |
| Canada |  |  |  |  |  |  |
| China |  |  |  |  |  |  |
| Japan |  |  |  |  |  |  |
| UK |  |  |  |  |  |  |
| United States |  |  |  |  |  |  |
| [Any other countries which have more than 5% of global sales. Add rows as needed.] |  |  |  |  |  |  |
| Rest of World |  |  |  |  |  |  |
| Worldwide |  |  |  |  |  |  |

SALES DATA ANALYSIS

[INSERT CHART: Sales Trend Over Time]

[Space for line chart showing:]

- X-axis: Time periods

- Y-axis: Units sold

- Trend line showing overall growth/decline pattern

[NARRATIVE GUIDANCE: Insert the analysis to examine sales trends over time, using a trend line to highlight patterns of growth or decline.]

Size and Characteristics of Population Using Device

Usage Frequency

- Single Use per Patient: ☐  Yes ☐  No

- Multiple Uses per Patient: ☐   Yes ☐   No

- Average Uses per Patient: [Delete this row if not applicable.]

Estimated Size of the Patient Population Exposed to the Device

[Insert and justify the estimated number of patients exposed based on factors such as number of devices sold, active installed base, and usage frequency. These estimates should reflect device-specific scenarios, including re-usability of the device with different patients, Where relevant, include usage across different patient populations and demographics.]

Characteristics of Patient Population Exposed to the Device

[Describe any special characteristics of the patient population (or subpopulations) exposed to the device. Include relevant demographic details such as age, gender, comorbidities, ethnicity, and usage setting.]

# Section D:  Information on Serious Incidents

Include a summary of serious incidents and their impact on overall device safety. Use the IMDRF Adverse Event Terminology (AET) where available, applying Level 2 terms and codes to group incidents. Report number of serious incidents (N) and incident rates, broken down by region (EEA+TR+XI), UK and worldwide. Classify medical device problems using Annex A (“Medical Device Problem”) by year, and include investigation findings (Annex C), health impacts (Annex F), and investigation conclusions (Annex D), with relevant terms and codes. Only include investigation conclusions directly related to the identified health impacts.

Table 2 Total number (N) and rate (%) of the serious incidents by IMDRF Adverse Event Terminology (AET) Annex A – Medical Device Problem by region

| Region | IMDRF Problem Code & Term | N (current period) | Rate (%) | Complaint number |
| --- | --- | --- | --- | --- |
| EEA+TR + XI |  |  |  |  |
| UK |  |  |  |  |
| Worldwide |  |  |  |  |

Table 3 Total number (N) and rate (%) and of the serious incidents by IMDRF AET Annex C - Cause Investigation-Investigation Findings by region over time

| Region | IMDRF Cause Code & Term | N (current period) | Rate (%) | Complaint number |
| --- | --- | --- | --- | --- |
| EEA+TR + XI |  |  |  |  |
| UK |  |  |  |  |
| Worldwide |  |  |  |  |

Table 4 IMDRF AET Annex F - Health Effects-Health Impact code of the serious incidents by IMDRF Adverse Event Terminology Annex D - Investigation Conclusion

| IMDRF Adverse Event Health Impact (Annex F) code and term by region |  | Number of serious incidents | Investigation conclusion code+ term 1 % | Investigation conclusion code+ term 2 % | Investigation conclusion code+ term 3 % | Investigation conclusion code+ term 4 % |
| --- | --- | --- | --- | --- | --- | --- |
| EEA+TR + XI |  |  |  |  |  |  |
| UK |  |  |  |  |  |  |
| Worldwide |  |  |  |  |  |  |

[New Incident Types Identified This Cycle.]

# Section E:  Customer Feedback

[Include a summary of content provided through the procedure for Post-Market Surveillance and Customer Feedback (BSR-MKT-005).]

Table 6 Feedback by Type and Source (Remove if not applicable)

| Feedback Type | Source | Count | Summary |
| --- | --- | --- | --- |

# Section F: Product Complaint Types, Complaint Counts, and Complaint Rates

Complaint Rate Calculation

The complaint rate is calculated as the number of complaints received during a period divided by the estimated number of uses during that period. The estimated number of uses during a period is calculated as [Describe and justify how the estimated number of uses will be calculated for this product].

Annual Number of Complaints and Complaint Rate by Harm and Medical Device Problem

[Summarize the complaint counts and complaint rates within one of the following tables. Provide commentary/context for any 12-month period within the data collection period where the complaint rate exceeded the maximum expected rate of occurrence in the RACT. Address if there is any update required to the Risk Documentation]

Table 7 Complaint Rate (and Complaint Count) by Harm and Medical Device Problem [Use this table if the PSUR update frequency is ‘annually’.]

| Harm Medical Device Problem | Current 12-Month Data Collection Period | Max Expected Rate of Occurrence (from the RACT) |
| --- | --- | --- |
|  | [Date Range (mmm-yyyy to mmm-yyyy)] |  |
| [Harm A] |  |  |
| [Medical Device Problem 1 associated with Harm A] |  |  |
| [Medical Device Problem 2 associated with Harm A] |  |  |
| [Harm B] |  |  |
| [Medical Device Problem 1 associated with Harm B] |  |  |
| [Medical Device Problem 2 associated with Harm B] |  |  |
| No Health Consequence or Impact |  |  |
| [Medical Device Problem 1 with no health consequence or impact] |  |  |
| [Medical Device Problem 2 with no health consequence or impact] |  |  |
| Grand Total |  |  |

[Add or delete rows as needed]

Table 7 Complaint Rate (and Complaint Count) by Harm and Medical Device Problem [Use this table if the PSUR update frequency is ‘every two years’.]

| Harm Medical Device Problem | Current 24-Month Data Collection Period | Max Expected Rate of Occurrence (from the RACT) |
| --- | --- | --- |
|  | [Date Range (mmm-yyyy to mmm-yyyy)] | [Date Range (mmm-yyyy to mmm-yyyy)] |
| [Harm A] |  |  |
| [Medical Device Problem 1 associated with Harm A] |  |  |
| [Medical Device Problem 2 associated with Harm A] |  |  |
| [Harm B] |  |  |
| [Medical Device Problem 1 associated with Harm B] |  |  |
| [Medical Device Problem 2 associated with Harm B] |  |  |
| No Health Consequence or Impact |  |  |
| [Medical Device Problem 1 with no health consequence or impact] |  |  |
| [Medical Device Problem 2 with no health consequence or impact] |  |  |
| Grand Total |  |  |

[Add or delete rows as needed]

# Section G: Information From Trend Reporting

Overall Monthly Complaint Rate Trending

[Include a monthly complaint rate graph throughout the data collection period including an upper control limit.  If there are any breaches of the upper control limit, provide context/commentary and indicate any actions (e.g., notification of individuals) that are needed as a result.]

Trend Reporting

[List any trend reports submitted regarding the data collection period and provide a summary of any trends identified during the reporting period that may impact the risk analysis, including those not necessarily linked to serious injury. Compare these trends with data from previous PSURs to highlight any emerging patterns. The summary should clearly specify the affected device model(s) or trade name(s), the manufacturer’s reference number, the date the trend was first identified, and the date it was reported to the MHRA (if applicable). Provide current status of the trend investigation, noting whether it resulted in any corrective or preventive actions, and include the FSCA reference number if relevant. Information from trend reporting on non-serious incidents and expected undesirable side effects. If Not applicable, enter ‘N/A – no trend reports were submitted regarding the data collection period.’]

# Section H: Information from Field Safety Corrective Actions (FSCA)

[Include a summary of the FSCAs initiated during the reporting period in below table and any follow-up actions taken as a result (e.g., CAPAs).  If not applicable, enter ‘N/A - There were no FSCAs initiated during the data collection period.’ and delete the table below.]

Table 8 FSCA initiated in current reporting period and open FSCAs

| Type of action | Manufacturer Reference number | Issuing Date / Date of Final FSN | Scope of the FSCA/Device models within scope | Status of the FSCA | Rationale and description of action taken | Impacted regions | Date reported to MHRA (if applicable) |
| --- | --- | --- | --- | --- | --- | --- | --- |

# Section I: Corrective and Preventive Actions

[Include a listing and summary of CAPAs initiated during the surveillance period to address risks or non-conformities that may compromise the performance or safety of the device.  If applicable, enter ‘N/A - There were no CAPAs initiated during the data collection period.’ and delete the table below.]

Table 9 CAPA initiated in current reporting period

| CAPA Number / Manufacturer Reference Number | Initiation Date | Scope of the CAPA | Status of the CAPA | CAPA description | Root cause | Effectiveness of the CAPA | Target date for completion if ongoing |
| --- | --- | --- | --- | --- | --- | --- | --- |

# Section J: Scientific Literature Review of Relevant Specialist or Technical Literature

[Include the Literature Search Methodology, number of relevant articles identified during the data collection period and summarize any new data related to device performance or safety, newly observed uses, previously unassessed risks, or significant changes to the state of the art; identify any new scientific publications with conclusions impacting the understanding of device safety or performance, Performance and safety comparison with similar devices, with detailed search results available in technical documentation.]

# Section K: Review of External Databases and Registries

[Provide a list of all registries reviewed including the following information: the name or registry reference, type of register and provide the list of similar products, Provide a list of findings in comparison to the devices with same intended use. Provide information about the total number of matches found in each, and any new complaints, adverse events, failure modes, hazardous situations, harms, any new risks identified from this data set that were not previously captured in the complaints database or risk management file.]

Table 10 Adverse Events and Recalls [Update the table as required to reflect the most current data and findings.]

| Database/Registry | Total matches | Relevant findings | Benchmark vs similar devices | Regulatory actions affecting similar devices | RMF update reference |
| --- | --- | --- | --- | --- | --- |

# Section L: Post Market Clinical Follow-Up (PMCF)

[Include a summary of the PMCF activities undertaken during the data collection period and any results that were obtained, referencing the PMCF Plan and Evaluation Report where applicable. Highlight any new performance- or safety-related data collected, including findings from PMCF studies, clinical experience, and other sources such as electronic health records, digital health-monitoring devices, publicly available databases, and similar device information. Report any uses identified beyond those previously known or indicated, such as systemic misuse or off-label use, and describe any new risks identified beyond those previously assessed in the risk management file. Note any significant changes to the state of the art and summarize how PMCF findings have been integrated into the clinical evaluation and whether they impacted the benefit-risk determination or led to updates in the Clinical Evaluation Report (CER) or Risk Management File (RMF). If PMCF has been justified in the PMS Plan as not being required, indicate: “N/A – Not required per PMS Plan” and provide a brief rationale referencing the relevant section of the PMS Plan]

Table 11 PMCF Activities (Remove if not applicable)

| Specific PMCF Activities | Key Findings | Impact on safety/performance | RMF/CER update? | PMCF Evaluation Report reference |
| --- | --- | --- | --- | --- |

# Section M: Findings and Conclusions

- Include a conclusion of whether the benefit-risk profile has been adversely impacted or has NOT been adversely impacted and remains unchanged based on the comprehensive analysis of all surveillance data collected during this reporting period, including sales data, vigilance information, customer feedback, clinical literature, external databases, CAPAs, and PMCF data.

- Include whether all intended benefits were achieved.

- Include if there are any limitations to the data that have been used for analysis and provide the conclusion.

- Include if there are any new or emerging risks identified or new benefits during the reporting period.

- Include if there are any actions taken by manufacturer to update Benefit-Risk Assessment, Risk Management File, Product Design, Manufacturing Process, Instructions for Use, or Labeling, Clinical Evaluation Report, Summary of Safety and Clinical Performance (only applicable to EU Class III or implantable devices), or the initiation of a Corrective and Preventive Action or a Field Safety Corrective Action?  If so, document the action to be taken and the means of follow up.]

- Overall Performance conclusion

[Note:  Multiply number of sales units by devices per sales unit as needed.]

European Economic Area which includes all EU countries plus Iceland, Liechtenstein, & Norway

Turkey

Northern Ireland

Includes only England, Scotland, and Wales

Includes all other countries with less than 5% of global sales.

[Note:  Multiply number of sales units by devices per sales unit as needed.]

European Economic Area which includes all EU countries plus Iceland, Liechtenstein, & Norway

Turkey

Northern Ireland

Includes only England, Scotland, and Wales

Includes all other countries with less than 5% of global sales.

[RMFXXXX-RACT, Risk Assessment & Control Table for XXX.]

[RMFXXXX-RACT, Risk Assessment & Control Table for XXX.]